Cytek Aurora

Configuration (see attached PDF)

|  |  |
| --- | --- |
| Location | 25 Orde St, Room L421 |
| Excitation | 405 nm, 488 nm, 561 nm, 640 nm |
| Detectors | full spectrum – 48 CWDM fluorescence |
| Features | Spectral analyzer |